CONCEPT HANDBACK INSPECTION CHECKLIST

__________________________________________________________________________________________

PROPERTY DETAILS

• Property Address: 7 ALKINCOTE ST, BD21 5JY

• Inspection Date: 18 MAY

• Inspector Name: AHMED

• Keys Received (Y/N): Y 2X

• Date Keys Received:

• Occupied at Inspection? (Y/N): N

• Utilities Active? (Y/N): NO

__________________________________________________________________________________________

1. VACANT POSSESSION

• Property fully vacant? (Y/N): Y

• Any occupants remaining? N

• Any belongings left behind? N

• Signs of continued use? N

Notes:

2. GENERAL CONDITION

• Overall condition:

☐ Good   ☑ Fair   ☐ Poor   ☐ Severe

• Cleanliness:

☐ Clean   ☑ Needs cleaning   ☐ Heavy neglect

• Odours / damp smell?

Notes:

3. WALLS & DECORATION

• Paint condition:

• Scuffs / damage: YES

• Holes / fixings:

• Mould present? (Y/N)

Notes:

4. CEILINGS

• Stains: YES

• Cracks: NO

• Mould: N

Notes:

5. FLOORS & CARPETS

• Carpet condition:

• Burns / stains: N

• Lifting / damage: N

• Hard flooring condition:

Notes:

6. DOORS & WINDOWS

• Internal doors working? Y

• Any broken hinges / handles? N

• Fire doors intact? ( VERY IMPORTANT )

• Windows opening / closing?

Notes:

7. KITCHEN

• Units condition:

• Worktops: POOR

• Appliances: POOR - F/F, W/D, MICRO

• Extractor working: NO

• Cleanliness: POOR

Notes:

8. BATHROOM(S)

• Sanitary ware condition:

• Tiles:  FAIR

• Mould/ventilation issues:

• Water preassure/leaks:

Notes:

9. HEATING / BOILER

• Heating working? (Y/N): ?

•  Boiler condition:

• Any visible faults?

Notes:

10. ELECTRICAL

• Lights working?: NO ELEC

• Sockets damaged?

• Exposed wiring?

Notes:

11. DAMP / STRUCTURAL SIGNS

• Damp present? (Y/N)

• Mould growth?

• Cellar condition?

• Ventilation issues?: YES - SMELL DAMP

Notes:

12. COMPLIANCE ITEMS (CRITICAL)

• Tick what is PROVIDED:

☐ Gas Certificate

☐ EICR

☐ Fire Alarm Certificate

☐ Emergency Lighting

☐ Fire Risk Assessment

☐ EPC

__________________________________________________________________________________________

13. EXTERNAL

• Garden condition:

• Waste / rubbish:

• Damage outside:

__________________________________________________________________________________________

14. PHOTOS / VIDEO

• Full video walkthrough done? (Y/N):

• Photos taken? (Y/N): ✓

__________________________________________________________________________________________

15. INITIAL DILAPS VIEW

• Estimated cost range:

• Immediate works required: £?