CONCEPT HANDBACK INSPECTION CHECKLIST

PROPERTY DETAILS

• Property Address: 29 HAYCLIFFE , BD5 9HD

• Inspection Date: 21 | 5 | 26

• Inspector Name: Jol Singh

• Keys Received (Y/N): Y – only front door

• Date Keys Received:

• Occupied at Inspection? (Y/N): N

• Utilities Active? (Y/N): Y

1. VACANT POSSESSION

• Property fully vacant? (Y/N): Y

• Any occupants remaining? N

• Any belongings left behind?

• Signs of continued use? N

Notes:

2. GENERAL CONDITION

• Overall condition:

☐ Good   ☐  Fair   ☑  Poor   ☐ Severe

• Cleanliness:

☐ Clean   ☐  Needs cleaning   ☑ Heavy neglect

• Odours / damp smell?

Notes:

3. WALLS & DECORATION

• Paint condition: Poor

• Scuffs / damage: YES

• Holes / fixings: YES

• Mould present? (Y/N) N

Notes:

4. CEILINGS

• Stains: N

• Cracks: N

• Mould: N

Notes:

5. FLOORS & CARPETS

• Carpet condition: Poor

• Burns / stains: None

• Lifting / damage:

• Hard flooring condition: Poor

Notes:

6. DOORS & WINDOWS

• Internal doors working? Y – LIR  not present

• Any broken hinges / handles? No

• Fire doors intact? ( VERY IMPORTANT )

• Windows opening / closing?  YES

Notes:

7. KITCHEN

• Units condition: Passable

• Worktops: Fair

• Appliances: None

• Extractor working: Yes

• Cleanliness: Poor

Notes:

8. BATHROOM(S)

• Sanitary ware condition: Fair

• Tiles:  Fair

• Mould/ventilation issues:  NO

• Water preassure/leaks: None

Notes:

9. HEATING / BOILER

• Heating working? (Y/N): Y

•  Boiler condition: OK

• Any visible faults? None

Notes:

10. ELECTRICAL

• Lights working?: YES

• Sockets damaged? No

• Exposed wiring? No

Notes:

11. DAMP / STRUCTURAL SIGNS

• Damp present? (Y/N) N

• Mould growth? N

• Cellar condition?  Poor

• Ventilation issues?: None

Notes:

12. COMPLIANCE ITEMS (CRITICAL)

Tick what is PROVIDED:

• Gas Certificate ☐

• EICR ☐

•  Fire Alarm Certificate ☐

•  Emergency Lighting ☐

•  Fire Risk Assessment ☐

•  EPC ☐

______________________________________________________________________

13. EXTERNAL

• Garden condition: Poor – Full of  Junk

• Waste / rubbish: In front+ Back garden

• Damage outside:

______________________________________________________________________

14. PHOTOS / VIDEO

• Full video walkthrough done? (Y/N): Y

• Photos taken? (Y/N): Y

______________________________________________________________________

15. INITIAL DILAPS VIEW

• Estimated cost range:

• Immediate works required:

METER READINGS:

Gas    483 20     (88)

Elec    6412

Property in poor state  - decs/ flooring