CONCEPT HANDBACK INSPECTION CHECKLIST

______________________________________________________________________

PROPERTY DETAILS

• Property Address: 10 KNIGHTSFOLD , BD7 3DR

• Inspection Date: 21 | 05 | 26

• Inspector Name: Jol Singh

• Keys Received (Y/N): Y

• Date Keys Received:

• Occupied at Inspection? (Y/N): N

• Utilities Active? (Y/N): N ______________________________________________________________________

1. VACANT POSSESSION

• Property fully vacant? (Y/N): Y

• Any occupants remaining? N

• Any belongings left behind? N

• Signs of continued use? N

Notes:

2. GENERAL CONDITION

• Overall condition:

☑  Good   ☐  Fair   ☐  Poor   ☐ Severe

• Cleanliness:

☑  Clean   ☐  Needs cleaning   ☐  Heavy neglect

• Odours / damp smell?  None

Notes:

3. WALLS & DECORATION

• Paint condition: Fair

• Scuffs / damage: None

• Holes / fixings: None

• Mould present? (Y/N) N

Notes:

4. CEILINGS

• Stains: N

• Cracks: N

• Mould: N

Notes:

5. FLOORS & CARPETS

• Carpet condition: Fair

• Burns / stains: None

• Lifting / damage: None

• Hard flooring condition: Fair

Notes:

6. DOORS & WINDOWS

• Internal doors working? Y

• Any broken hinges / handles? None

• Fire doors intact? ( VERY IMPORTANT ) YES

• Windows opening / closing?  YES

Notes:

7. KITCHEN

• Units condition: Good

• Worktops: Good

• Appliances: Look good, but no electric to test/ no fridge freezer present

• Extractor working: Could not test

• Cleanliness: Clean

Notes:

8. BATHROOM(S)

• Sanitary ware condition: Good – No shower curtain

• Tiles:  Good

• Mould/ventilation issues:  None

• Water preassure/leaks: None

Notes:

9. HEATING / BOILER

• Heating working? (Y/N): Could not test

•  Boiler condition:

• Any visible faults? No

Notes:

10. ELECTRICAL

• Lights working?: Could not test

• Sockets damaged? No

• Exposed wiring? None

Notes:

11. DAMP / STRUCTURAL SIGNS

• Damp present? (Y/N) N

• Mould growth? N

• Cellar condition?  Clear+ no damp

• Ventilation issues?: None

Notes:

12. COMPLIANCE ITEMS (CRITICAL)

Tick what is PROVIDED:

• Gas Certificate ☐

• EICR ☐

•  Fire Alarm Certificate ☐

•  Emergency Lighting ☐

•  Fire Risk Assessment ☐

•  EPC ☐

______________________________________________________________________

13. EXTERNAL

• Garden condition: Fair

• Waste / rubbish: None

• Damage outside: None

______________________________________________________________________

14. PHOTOS / VIDEO

• Full video walkthrough done? (Y/N):  Y

• Photos taken? (Y/N):  Y

______________________________________________________________________

15. INITIAL DILAPS VIEW

• Estimated cost range:

• Immediate works required:

METRE READINGS

Elec   05780

Gas    22285