CONCEPT HANDBACK INSPECTION CHECKLIST

______________________________________________________________________

PROPERTY DETAILS

• Property Address: 6 DUKE STREET, BD20 6AB

• Inspection Date: 18 | MAY | 26

• Inspector Name: AHMED

• Keys Received (Y/N): Y X1

• Date Keys Received:

• Occupied at Inspection? (Y/N): VACANT

• Utilities Active? (Y/N): YES ______________________________________________________________________

1. VACANT POSSESSION

• Property fully vacant? (Y/N): Y

• Any occupants remaining? N

• Any belongings left behind? N

• Signs of continued use? N

Notes:

2. GENERAL CONDITION

• Overall condition:

☑    Good   ☐   Fair   ☐  Poor   ☐ Severe

• Cleanliness:

☑    Clean   ☐  Needs cleaning   ☐  Heavy neglect

• Odours / damp smell?  None

Notes:

3. WALLS & DECORATION

• Paint condition: Good – Atic bedroom wall- water ingress

• Scuffs / damage: None

• Holes / fixings: None

• Mould present? (Y/N) N

Notes:

4. CEILINGS

• Stains: Top bedroom

• Cracks: Y

• Mould: Y

Notes:

5. FLOORS & CARPETS

• Carpet condition:

• Burns / stains: Light stains

• Lifting / damage:

• Hard flooring condition:

Notes:

6. DOORS & WINDOWS

• Internal doors working?

• Any broken hinges / handles?

• Fire doors intact? ( VERY IMPORTANT )

• Windows opening / closing?

Notes:

7. KITCHEN

• Units condition:

• Worktops:

• Appliances:

• Extractor working:

• Cleanliness:

Notes:

8. BATHROOM(S)

• Sanitary ware condition: Toilet flush handle loose

• Tiles:  Y

• Mould/ventilation issues:  No

• Water preassure/leaks: Fine

Notes:

9. HEATING / BOILER

• Heating working? (Y/N): Seems fine – No error

•  Boiler condition:

• Any visible faults? No

Notes:

10. ELECTRICAL

• Lights working?: Yes

• Sockets damaged? No

• Exposed wiring? No

Notes:

11. DAMP / STRUCTURAL SIGNS

• Damp present? (Y/N) N

• Mould growth?

• Cellar condition?  Not checked

• Ventilation issues?:

Notes:

12. COMPLIANCE ITEMS (CRITICAL)

Tick what is PROVIDED:

• Gas Certificate ☐

• EICR ☐

•  Fire Alarm Certificate ☐

•  Emergency Lighting ☐

•  Fire Risk Assessment ☐

•  EPC ☐

______________________________________________________________________

13. EXTERNAL

• Garden condition:

• Waste / rubbish:

• Damage outside:

______________________________________________________________________

14. PHOTOS / VIDEO

• Full video walkthrough done? (Y/N):

• Photos taken? (Y/N):

______________________________________________________________________

15. INITIAL DILAPS VIEW

• Estimated cost range:

• Immediate works required: