CONCEPT HANDBACK INSPECTION CHECKLIST

______________________________________________________________________

PROPERTY DETAILS

• Property Address: 20 DREWRY, BD21 2PU

• Inspection Date: 18 MAY

• Inspector Name: AHMED

• Keys Received (Y/N): Y 2X

• Date Keys Received:

• Occupied at Inspection? (Y/N): N

• Utilities Active? (Y/N): Y ______________________________________________________________________

1. VACANT POSSESSION

• Property fully vacant? (Y/N): Y

• Any occupants remaining? N

• Any belongings left behind? N

• Signs of continued use?

Notes:

2. GENERAL CONDITION

• Overall condition:

☑    Good   ☐  Fair   ☐  Poor   ☐ Severe

• Cleanliness:

☑    Clean   ☐  Needs cleaning   ☐  Heavy neglect

• Odours / damp smell?  None

Notes:

3. WALLS & DECORATION

• Paint condition: Y

• Scuffs / damage: N

• Holes / fixings: N

• Mould present? (Y/N) N

Notes:

4. CEILINGS

• Stains: N

• Cracks: N

• Mould: N

Notes:

5. FLOORS & CARPETS

• Carpet condition: Good

• Burns / stains: No

• Lifting / damage: No

• Hard flooring condition: Fine

Notes:

6. DOORS & WINDOWS

• Internal doors working? Y

• Any broken hinges / handles? N

• Fire doors intact? ( VERY IMPORTANT )

• Windows opening / closing?  YES

Notes:

7. KITCHEN

• Units condition:

• Worktops:

• Appliances:

• Extractor working:

• Cleanliness:

Notes:

8. BATHROOM(S)

• Sanitary ware condition: Dated

• Tiles:

• Mould/ventilation issues:  N

• Water preassure/leaks: Y

Notes:

9. HEATING / BOILER

• Heating working? (Y/N):

•  Boiler condition:

• Any visible faults?

Notes:

10. ELECTRICAL

• Lights working?: YES

• Sockets damaged? No

• Exposed wiring? No

Notes:

11. DAMP / STRUCTURAL SIGNS

• Damp present? (Y/N) N

• Mould growth? N

• Cellar condition?

• Ventilation issues?:

Notes:

12. COMPLIANCE ITEMS (CRITICAL)

Tick what is PROVIDED:

• Gas Certificate ☐

• EICR ☐

•  Fire Alarm Certificate ☐

•  Emergency Lighting ☐

•  Fire Risk Assessment ☐

•  EPC ☐

______________________________________________________________________

13. EXTERNAL

• Garden condition:

• Waste / rubbish:

• Damage outside:

______________________________________________________________________

14. PHOTOS / VIDEO

• Full video walkthrough done? (Y/N):

• Photos taken? (Y/N):

______________________________________________________________________

15. INITIAL DILAPS VIEW

• Estimated cost range:

• Immediate works required: